Results from an in-beam
prototype test of a high
resolution tracking detector
for the International Linear Collider
Lene Bryngemark and Tuva Richert
The department of Experimental High Energy Physics, Lund University
Supervisor: Peter Christiansen

---
Introduction
Performance analysis of a prototype Time Projection Chamber (TPC) tracking detector
Novel read out system, GEM - Gas Electron Multiplier
International Linear Collider (ILC)
A test beam available at DESY, Hamburg
Introduction
[Speaker Notes: The main topic of this project is the performance analysis of a prototype Time Projection Chamber (TPC) tracking detector, with a novel read out system, GEM (Gas Electron Multiplier), for a development of the main tracking detector in the experiment at the future International Linear Collider (ILC). A test beam for studies of the performance of the prototype TPC is available at DESY, Hamburg. The analysis focuses on the position resolution in the bend plane and the reconstruction of tracks in two dimensions, which is done by a cluster finding algorithm written in C++ within the ROOT analysis framework.]

---
International Linear Collider
Time Projection Chamber
Gas Electron Multiplier
Background
Read out
Analysis and results 1
Analysis and results 2
Analysis and results 3
Conclusions
Electronics set-up
Signals
Noise
Pedestals
Correlations
Track visualization
Track reconstruction
Position resolution
Time studies
Overview

---
The International Linear Collider (ILC)
Collide electrons and positrons at Tera-scale energies
Physics motivation for the ILC project:
- precision experiments at favorable background conditions (not attainable in hadron collisions)
- improved momentum resolution
→ improved mass resolution
- CM energy 500 GeV - 1 TeV (includes upgrades)
- electrons and positrons do not suffer from energy losses due to synchrotron radiation
Early development and design phase
Important with simulations and prototype studies
TPC is a good candidate for the central tracker in one of the detector system options
Background
[Speaker Notes: The linacs will collide electrons and positrons at Tera-scale energies to investigate new physics. Physics motivation for the ILC The overall physics goal of the ILC is to perform precision experiments at extremely favorable background conditions, not attainable in hadron collisions. Thus, an experimental development for the ILC strives at better momentum resolution than today's experiments. This gives good mass resolution and therefore allow precise measurements. The center of mass energies at the linear collider will have a range between 500 GeV - 1 TeV. Most likely, the final energy choice of the ILC will await indications of the Higgs mass from the first round of LHC experiments. A linear collider, as the ILC, has the advantage that the electrons and positrons does not suffer from energy losses due to synchrotron radiation. The Large Detector Concept (LDC) The detectors for the ILC are still in an early development and design phase. It is therefore important with simulations and prototype studies such as the ILC TPC prototype at DESY. The TPC detector is a good candidate for the central tracker in one of the options for the ILC detector system.]

---
Time Projection Chambers (TPCs)
Three dimensional, gaseous tracking detectors provides information about the particle
Uniform electric field directed along the cylinder axis
Charged particle from the collision will enter the detector and ionize the gas
→ electron-ion pairs, electrons drift towards the anodes at the end of the TPC
Gas amplification system accelerates the incoming electrons → avalanche → amplified signal
The location of the avalanche can be measured by segmenting the anode plane into pads
Three dimensional coordinates
Track can be reconstructed
Strong magnetic field
→ particle momenta
Reconstructed tracks
Background
[Speaker Notes: Three dimensional, gaseous tracking detectors can provide track and energy loss information about charged particles traversing the detector and about charged particles in the jets created in the collision. A gas filled, cylinder shaped chamber with an applied uniform electric field directed along the cylinder axis constitutes the large drift region. A charged particle from the collision will enter the detector and ionize the gas, creating electron-ion pairs. The ionization electrons drift towards the anodes at the end of the TPC. A gas amplification system provides strong electric fields, which accelerates the incoming electrons. From that acceleration, the electrons gain energy and can ionize the gas molecules further and an avalanche is created and the signal is amplified. The location of the avalanche can be measured by segmenting the anode plane into small areas, called pads. Three dimensional coordinates are obtained from the known coordinates of the pads and by measuring the drift time of the electrons and knowing the drift velocity. From a large number of measured points on a trajectory, the track of the traversing particle can be reconstructed. In the ILC TPC, up to 400 measured coordinates along the track are needed to obtain the desired momentum resolution. The TPC is embedded in a uniform, strong magnetic field, parallel to the electric field. The presence of a magnetic field allows measurements of the particle momenta since the charged particle will bend off in a curved trajectory defined by its momentum. TPCs have been used in many collider experiments and have performed very well. But until now, the TPCs were read out by wire technique, Multi Wire Proportional Chambers. A new technique with a Gas Electron Multiplier (GEM) read out system provides potentially superior position resolution, and hence a correspondingly better momentum and an improved two track separation. This system is planned for the ILC TPC if the prototype tests verify that the design goals can be reached.]

---
Gas Electron Multiplier and read out pads
The GEM holes in the kapton foil.
A schematic view of the GEM technique
Read out by wire technique, MWPC (Multi Wire Proportional Chambers)
New technique: Gas Electron Multiplier (GEM)
50 microns kapton foil with copper layers on each side and a large number of holes
High voltage → large electric field within the GEM holes (40-80 kV/cm) → avalanche
The charge is collected on the read out pads → projected image of the track can be obtained
Good position resolution: low diffusion and small pad size
GEM TPCs allows a pad geometry with a pad width of ~1 mm
Background
[Speaker Notes: Gas Electron Multiplier (GEM) and read out pads GEM is a new read out system for the TPC and consists of a 50 microns kapton foil with copper layers on each side and a large number of 50 microns diameter holes separated by 100-200 microns. High voltage is applied between the copper layers and the voltage difference creates a large electric field within the GEM holes (40-80 kV/cm). When the drifting electrons enter the high field region in the holes, they ionizes the gas in a cascade and an avalanche occurs. The charge is collected on the read out pads located a few mm behind the GEMs, and a projected image of the track can be obtained. To obtain good position resolution - that in the end leads to good momentum and mass resolution - the diffusion must be low and the pad size must be accordingly small in order to allow sharing of charge on several pads so that the centroid of the cloud can be determined. GEM TPCs allow a pad geometry with a pad width of ~ 1 mm.]

---
Diffusion
Uniformly diffusion when E=0
Else: acceleration along the field lines, but still diffusion
→ charge cloud smear out
→ charge cloud hit several pads
→ cloud centroid determination and better two particle separation power
Large diffusion: decreased position resolution
Magnetic field parallel to the electric field
→ reduced effect of the transverse diffusion
Background
[Speaker Notes: In the absence of an electric field, the electrons and ions diffuse uniformly outward from their point of creation. When an electric field is applied, the electrons and ions accelerates along the field lines towards the anode resp. the cathode, but there is still a diffusion phenomenon which makes the charge cloud smear out. This smearing out of the charge cloud makes the charge hit several pad segments, and a determination of the cloud centroid is possible as well as better two particle separation power. Thus, the track position can be calculated with an accuracy that is significantly smaller than the pad size. However, if the diffusion of the drifting electrons is too large, it will also contribute to decreased space point resolution. When the drift distance from the ionization point to the readout system is long, diffusion becomes a problem and the spatial resolution will be affected. With a magnetic field parallel to the electric field, the electron displacement due to diffusion is reduced since the magnetic field confines the electrons to trajectories along the drift direction and hence the transverse diffusion (perpendicular to the field) decreases. For the GEM readout system, it is beneficial to have its large transverse diffusion in the amplification region to ensure that the charge is smeared out over more than one pad.]

---
Electronics set-up
Magnet
TPC
Superconducting solenoid magnet, 1 T field
The charge is collected on pads and becomes a signal in the read-out electronics. The signal information is recorded/stored on a computer.
Electronics set-up

---
Cable connectors on the outside
Pads inside the TPC
Pad shape from modules on circle segments
A connector assigns 2×16 pads to a channel each
Connects to a kapton signal cable
Electronics set-up

---
2×16 channels per cable, 4 cables per FEC
16 channels per PCA16 and ALTRO
Other 16 on opposite side
Front End Card (FEC)
Signal cable
Electronics set-up

---
FECs are read out on a bus
Signals are labeled by RCU number, FEC number, ALTRO number and channel number within ALTRO
Up to 32 FECs handled by one Read-out Control Unit (RCU)
Data transmitted via optic cable to storage on computer
Electronics set-up

---
Signals
PCA16:
Pad charge converted into a voltage
Preamplifier
Low gain: 12 mV/fC (roughly 600 e)
High gain: 27 mV/fC
ALTRO:
ADC digitises PASA signal on 1.2 V scale to 10 bit digital value
Buffers data while waiting for store/discard decision
Also pedestal subtraction and zero suppression, which will be covered later
Done for all 16 channels in parallel
With low gain, 600 electrons correspond to roughly 10 ADC channels, but to 23 ADC channels with high gain – higher gain resolves charge better
Signals

---
Pulse
Noise (RMS)
Pedestal
Trigger “sees” particle and starts data acquisition
One event is 1000 samples wide - consecutive events recorded without interruption make up a “run”
20 MHz sampling frequency
- 50 ns sample spacing
Signals

---
Pedestal subtracted when looking at particle tracks
Zero suppression: only “pulse” transmitted to RCU
- set conditions (what is a “pulse”?)
- minimises amount of data handled
This is done by the ALTRO
Signals

---
Pedestal runs: random trigger, no particles
Analyse pedestal level and noise characteristics of read-out channels
- Fully characterise a new detector
- Find systematic effects
- Optimise settings for zero suppression
Display parameters for pads in the modules in colour scale – to easily see patterns – and in distributions – to see overall effects
Signals

---
Example event
 3 modules: full length (50 cm), only 3	connectors (~5 cm) wide
Instrumentation for beam
 Low gain

---
Analysis and results: pedestal runs
- Noise
- Pedestal levels
- Correlations
Analysis and results

---
Low gain
High gain
Shape differs for different gains
Mean unaffected
300 e is a very low noise
Analysis and results: noise

---
Is there a digitisation effect?
Would make some noise levels seem lower
Analysis and results: noise
Pedestal level 1
Analogue range
Pedestal level 2
One ADC channel

---
Yes, there is, for events with low gain.
Only the higher noise is seen when analogue pedestal is well centered within digital bit
This distribution is entirely flat for events with high gain, where “noise resolution” increases
Analysis and results: noise

---
Low gain
High gain
Shape differs for different gains
Mean differs much
Analysis and results: pedestals

---
Noise and pedestals for same event, displayed for pads in modules
Higher noise and lower pedestals mostly in the same pads
Caused by pad position in read-out plane (e.g., near edges)?
Analysis and results: correlations

---
Probably not related to pad position on read-out plane, but to FEC.
- Intrinsic for each FEC?
- Related to FEC position on read-out bus?
Remains to be investigated.
Analysis and results: correlations

---
Noise and pedestal distributions for event with 3 modules and low gain
Both distributions have a bump on the side of the peak – are these made up of the same channels?
High gain seems to lower pedestals and increase noise (when measured in ADC channels).
Might be that the true gain is different (in that case higher) in these channels.
Analysis and results: correlations

---
Analysis and results
Track visualization
→ Simpler algorithm for visualization of the tracks
Track reconstruction and position resolution
→ Cluster finding algorithm for the tracking
and position resolution analysis
Analysis and results
[Speaker Notes: In the analysis of the test beam data from the prototype TPC at DESY, I have focused on track reconstruction and space point resolution. The position resolution is critical for the design of the ILC TPC readout geometry. A cluster finding algorithm was developed for the tracking and position resolution analysis, and a somewhat simpler algorithm has been developed for a visualization of the tracks. The complex pad geometry and the fact that the GEM modules are separated and rotated with respect to each other makes the software construction difficult, in particular since all hardware was used for the first time.]

---
Track visualization
From a large number of measured points on a track, the track of the traversing particle can be reconstructed
400 measured coordinates are needed in the ILC to obtain the desired momentum resolution
B=1
B=0
First step: visualize the tracks event by event
To visualize the tracks in two dimensions:
→ draw the charge in each channel on the corresponding pad position
Alignment of modules by translation constants
Channel content
→ Track position shown in a simple way
Analysis and results: Track visualization
[Speaker Notes: Track visualization The first step in the analysis is to visualize the tracks event by event to study the geometry and the basic features of the recorded track trajectory. From this, ideas of how more advanced software should be constructed (such as clustering and tracking algorithms) can be obtained. The pad geometry is complex with the pads having different amount of shift for each pad layer, the modules are separated, and the position coordinates for each module has an inaccurately known displacement. These are parameters that contribute to difficulties in making the reconstruction and visualization of the tracks general enough. Anyway, to visualize the tracks in two dimensions (the data is averaged over time, i.e. the third dimension is not added), the space coordinates for pads corresponding to the electronic channels must be known. For this, a mapping table is created that relates a channel with its corresponding readout pad for which the space coordinates are known. With this raw mapping, the modules have an arbitrary position relative to each other. Alignment of modules in two dimensions is done by determining translation constants from the technical drawings. Possibly also rotations have to be implemented. The channel content (the charge in ADC value) is then filled in corresponding channel as a “third dimension” in the histogram. In this way, the track position is shown in a simple way, while the charge is visualized with a color code in the third dimension or as a box height in a lego plot.]

---
Results
Drift 200 mm
Broader track due to larger diffusion
200 mm
Narrower track due to smaller drift distance
Narrower track image → better position resolution in the bend plane
Analysis and results: Track visualization
[Speaker Notes: Without magnetic field, the track image is expected to be broader and the cluster width larger than with magnetic field on due to larger transverse diffusion. In figure X, the track image in space coordinates for one single event without magnetic field is shown. Compared to figure Y, where the drift distance is the same as for the track in figure X (200 mm), and the only parameter varied is the magnetic field (1 Tesla), the track is indeed broader for the case with no magnetic field. The module spacing and the non working GEM can also be seen in the figures. The narrower a track image is, the better position resolution in the bend plane can be obtained. The position resolution is expected to be better with decreasing drift distance, and it is therefore interesting to visualize tracks where the ionization electrons have traveled different distances. Figure Y and Z shows the track image for one varying parameter, namely the drift distance. Comparing the width of the track for the different cases shows that the shorter drift length (70 mm) gives a narrower image and a smaller cluster width than drift distances of 200 mm, as expected from simulations about the diffusion.]

---
What do we learn from track visualization?
Results show that the track width is behaving like expected
Mapping constant OK
Other interesting observations:
- systematic noise area
- clean data (low noise)
- module edge distortions of the track image when B=1 must be further analyzed and
corrections for the distortions are necessary
Explanation: distortions of the electric field at the module edges (mounting structure of GEMs) cause nonparallel E and B fields
Analysis and results: Track visualization
[Speaker Notes: The results show that the track width, and hence the cluster width, is behaving like expected. The geometrical mapping constant also appears to be under control since tracks are reasonably well reconstructed. But other interesting observations can be done from the track visualization: Firstly, noisy pads are seen at a concentrated area which corresponds to specific channels. This must be investigated further and reduced if possible. Except from some systematic noise areas seen in the track visualization plots, the data are very clean, i.e. the noise is low. To reduce the noisy area, a time window is set in the clustering and tracking software, which select the time where tracks can appear. Secondly, the track visualization plots with magnetic field 1 Tesla shows module edge distortions of the track image. This must be further analyzed.]

---
The main goal with the track visualization is completed by comparing tracks.
Cluster finding provides the first step in the reconstruction of tracks in a more advanced and accurate way...
Analysis and results

---
Cluster finding and tracking
1. Find charge peak on each pad layer
2. Find cluster
3. Weighted mean position of cluster
4. Translate position to space coordinates
5. Fit a polynomial → distance from the
“real track” to reconstructed track
= DeltaY
6. Histogram DeltaY
7. Fit a Gaussian
8. Sigma (standard deviation) corresponds to the position resolution which describes
with what accuracy a track coordinate can be determined
9. Resolution for different drift lengths → extrapolate the fit to the maximum drift length of
the ILC TPC
Analysis and results: Track reconstruction

---
What do we learn from cluster finding?
Systematic error in the weighted mean cluster position relative to the fitted function; DeltaY is consistently above the fitted function on one half of the module, and below the fitted function on the other half of the module
The most reasonable explanation for this problem is module misalignment relative to each other
Limit the study to individual modules in order to get around the problem
The distortions of the track trajectory at the module edges when B=1 T (non aligned E and B fields)
The fitted function will be affected → correct with software: cut away the problematic areas
Analysis and results: Track reconstruction
[Speaker Notes: The reconstructed coordinates, where the cluster position in x and y space coordinates are plotted, show that two different problems arises: The first problem is that there are distortions of the track trajectory at the module edges when B=1 T (known as the "s-shape"). This problem was discovered in the track visualization analysis, and remains a problem in this more accurate tracking analysis. The fact that the distortions at the module edges arise only when the magnetic field is applied, not when the magnetic field is off, makes the reason most likely due to non aligned E and B fields, i.e. The B-field is not parallel to the E-field at the module edges. In other words: there are E x B effects where ExB is combined effect of the two fields, ExB, have a transverse component. These effects make the electron cloud drift non linear relative to the particle position which causes a degraded space point resolution. If this problem is not solved, the fitted function will be affected and hence the detailed analysis of the position resolution and the momentum determination will be pointless. Since the data is already taken, and there are no possibilities to align the E and B field with the current experimental setup, the problem must be dealt with in the software. This is the reason for cutting away the problematic areas with the module edge distortions. The second problem is that there are a systematic error in the weighted mean cluster position relative to the fitted function; the residuals, i.e. the distance from the position of the cluster to the fitted line (delta Y), are consistently above the fitted function on one half of the module, and below the fitted function on the other half of the module. This systematic residual problem arise with both B=1 T and B=0 T. This problem must also be solved before any detailed analysis of the space point resolution along the full track length can be done. This second problem, called "the systematic residual problem", can be caused by different reasons. It is not caused by the magnetic field, since it is visible with and without the magnetic field. The pad geometry is complex and can therefore result in mapping problems of the channels to the space coordinate. The most reasonable explanation for this problem is module misalignment relative to each other. This problem is still not fully solved, and the problem is to how we should position the different modules in a common coordinate system with a sufficient accuracy to match the anticipated resolution of the system. This problem is bypassed by analyzing single modules instead of all three modules together.]

---
Single module study of position resolution
DeltaY in the pad layers for a single module fit, the edge distortions are still visible.
More randomly distributed
DeltaY. B=1
Analysis and results: Position resolution

---
And finally some results...
Analysis and results: Position resolution

---
Different modules
Single module study where the function is fitted only to the cluster position in a single module inside the cut
Result is a position resolution of ~120-130 microns
The limited data on no magnetic field runs
Analysis and results: Position resolution
[Speaker Notes: Single module study of space point resolution To walk around the systematic problems I will make a single module study where the function is fitted only to the cluster position in a single module inside the cut, i.e. without the module edge distortions. I have not studied the center module where the lower GEMs does not work. For the other modules, the result is a position resolution of ~120-130 microns. The limited data on no magnetic field runs makes it difficult to analyze these events.]

---
Different drift lengths
Analysis and results: Position resolution
[Speaker Notes: The position resolution in the bend plane for different drift lengths does not seem to change much. The resolution is ~120-130 microns. The expected value is around 100 microns. Considering the simulation it seems also understandable that the small difference in drift length from 70 mm to 200 mm does not influence the resolution significantly.]

---
Results
The position resolution in the bend plane for different drift lengths does not seem to change much: the resolution is
~ 120-130 microns
The expected value is around 100 microns
Considering the simulation it seems also understandable that the small difference in drift length from 70 mm to 200 mm does not influence the resolution significantly
Since the measurements basically confirm the simulations one should expect that the simulated performance at 4 T (less than 100 microns at small drift distances and ~100 microns at drift distances of 2.5 m) should be realistic
For higher position resolution, smaller pads or an alternative pad geometry is needed
More advanced software that can correct for the problems
Analysis and results: Position resolution
[Speaker Notes: The International Linear Collider project is still in its development phase, where it is important to test many design options. Every detail study can be used as input for Monte Carlo simulations, which is important for future studies and the construction of the final TPC. For higher position resolution, smaller pads or an alternative pad geometry is needed. But that means that the software has to be more advanced, and the mapping from a channel to a space coordinate is complex. Since the measurements basically confirm the simulations one should expect that the simulated performance at 4 T should be realistic. Unfortunately, the available magnet is limited to 1 T. The most difficult problem I faced when doing the analysis was the systematic residual problem. The solution was to analyze single modules inside which there no alignment ambiguities since the geometry is engraved into the pad board. The analysis resulted in a position resolution of 120-130 microns compared to the expected 100 microns. Of course, further analysis has to be done with correct module alignment, or alternatively, an accurate known translational and rotational displacement constant. 130 microns can also be improved by increasing the magnetic field from 1 Tesla to 4 Tesla. Further analysis could be done by estimating the momentum resolution with a simulation. If two tracks are generated; one with exactly known position and momentum, and the other with randomly generated charge distribution values extracted from our measurements done in the test at DESY. From the measurements, we obtained the charge deposited on each pad. Concerning all the involved pads, the charge gives (ideally) a Gaussian distribution, which can be used to generate a random charge value for the simulation. The track will then be reconstructed by the cluster finding- and track reconstruction algorithm described in the analysis section. The result of the simulation is thereby two tracks, the "real" track, and the "measured" track. The measured momentum can be compared to the real momentum and when repeated for many tracks, the momentum resolution can be obtained. It is then straightforward to generalize the simulation to a full size chamber.]

---
Track studies: time
Third dimension in tracks (z direction) given by time: drift time of electrons can be converted to a drift length if the drift velocity is known
Here the drift velocity is derived from known drift lengths and times:
data taken with TPC in different positions inside the magnet
Time can also be used to distinguish noise pulses from real track
Analysis and results: Time studies

---
Noise on side of track arrives at a different time – can be filtered out before clustering
Analysis and results: Time studies

---
Drift time is taken to be the mean of a Gaussian distribution fitted to the first non-zero sample of every channel in a run
Drift velocity from fit: 7.62 ± 0.09 cm/µs
Analysis and results: Time studies

---
z resolution:
- Fit a first-order polynomial to the coordinate of each cluster in the x-z plane
- Histogram of deviations of the cluster time positions from this line – DeltaZ
- Fit a Gaussian to the DeltaZ histogram; the resolution is given by the standard deviation σ
Analysis and results: Time studies

---
Skewed distribution
Charge dependence: weighted mean of signal delayed by tail, more tail above threshold for higher charge
Saturated channels get very delayed mean time
Result: z resolution is 0.781 ± 0.007 mm
Analysis and results: Time studies

---
Conclusions
- This TPC prototype is a low noise system
- The read-out electronics need to be investigated further with respect to noise and pedestals – at different gains, and other FEC positions on read-out bus
- With an undistorted E field the position resolution should improve.
- Higher resolution can be reached if the magnetic field is higher.
- The modules might have a rotational and/or translational displacement
- Perhaps smaller pad size or alternative pad geometry is necessary
- A higher sampling frequency might improve z resolution, will be tested
Conclusions

---
Thanks to
Peter Christiansen
Philippe Gros
Leif Jönsson
Ulf Mjörnmark
Anders Oskarsson
We would also like to thank to members of the LC TPC teams at Lund, DESY and Japan.
And last, but not least, thank you for listening.